## mlo
These are the file names, formats, and date range for the mlo house log files | [5 empty] | The units of some variables have switched over time. This table identifies those variables and time ranges
Date Range | Format | File name |  |  |  | Value | Date Range | Units
19950825 -> 20080216 | A | YYYYMMDD.wth |  |  |  | Liquid N2 Dewar Pressure | <= 20090820 | Volts
20081203 -> 20090120 | No Data | No Data |  |  |  |  | >= 20090901 | PSI
20090121 -> 20090122 | B | house.log | 2 days only |  |  | Wind Speed | 19950825 -> 20080216 | MPH
20090320 -> 20100302 | C | house.log |  |  |  | Wind Speed | 20090121 -> 20090820 | Volts
20110802 -> 20111009 | No Data | No Data |  |  |  | Wind Speed | >= 20090901 | MPH
20111010 -> 20111013 | D | house.log |  |  |  | Hatch Position | <=20090122 | volt
20111015 -> current | D | house.log |  |  |  | Hatch Posisition | >=20111010 | bit
Format A | [5 empty] | Format D
Original Label | New Label | Description | Units | Original Data Column | Notes | Original Label | New Label | Description | Units | Original Data Column | Notes
Time |  | hour minute seconds | hh:mm:ss | 1 | 1) Comma delimited | Date |  | Year month day | YYYYMMDD | 1 | 1) Space delimited
InSb T |  | InSb Detector Temperature | C | 12 |  | Time |  | Hour minute second | HH:MM:SS | 2
MCT T |  | MCT Detector Temperature | C | 13 |  | LN2_Dewar_Pressure |  | Liquid N2 Dewar Pressure | PSI | 3
BS T |  | Beam Splitter Temperature | C | 14 |  | Optic_Bench_Baseplate_T |  | Optical bench baseplate temperature | C | 4
Frnt T |  | Front of Instrument Body Temperature | C | 15 |  | NC_Beamsplitter_Body_T |  | Beam splitter body temperature | C | 5
IFM RH |  | Relative Humidity inside Instrument | % | 16 |  | INSB_Body_T |  | InSb detector temperature | C | 6
E Rad |  | East Radiance | Volts | 17 |  | MCT_Body_T |  | MCT detector Temperature | C | 7
W Rad |  | West Radiance | Volts | 18 |  | Brucker_Optical_RH |  | Relative Humidity inside Instrument | % | 8
W Dir |  | Wind Direction | Volts | 19 |  | E_Radiance |  | East Radiance | Volts | 9
Las T |  | Laser Temperature | C | 20 |  | W_Radiance |  | West Radiance | Volts | 10
Out T |  | Outside Temperature | C | 21 |  | Outside_RH |  | Outside Relative Humidity | % | 13
Out RH |  | Outside Relative Humidity | % | 22 |  | Laser_PS_T |  | Laser Power Supply Temperatuer | C | 14
L PWS T |  | Laser Power Supply Temperature | C | 23 |  | Wind_Speed |  | Wind Speed | MPH | 15
Wind S |  | Wind Speed | MPH | 24 |  | Wind_Dir_E_of_N |  | Wind Direction East of North | Deg | 16
Htch |  | Hatch position | Volts | 25 |  | Laser_T |  | Laser Temperature | C | 17
Bits |  | Bit Field |  | 26 |  | Outside_T |  | Outside temperature | C | 18
[6 empty] | DEC_B_Plug_Strip |  |  | bit | 19/3
Format B | [5 empty] | Mid_IR_Cooler |  |  | bit | 20/2
Original Label | New Label | Description | Units | Original Data Column | Notes | LN2_Fill |  |  | bit | 20/3
Time |  | hour minute seconds | hh:mm:ss | 1 | 1) Space delimited 2) 2 extra columns at the end of data | Hatch_Relay |  |  | bit | 21/3
LN2 DEWAR Pressure |  | Liquid N2 Dewar Pressure | volts | 3 |  | Solar_Seeker_ON_Relay |  |  | bit | 22/1
MCT TEMP. SWITCH |  | MCT Detector Temperature Switch | volts | 4 |  | Solar_Seeker_OFF_Relay |  |  | bit | 22/2
INSB BODY TEMP |  | InSb Detector Temperature | C | 13 |  | Dyn_Mirror_Pwr |  |  | bit | 22/3
MCT BODY TEMP |  | MCT Detector Temperature | C | 14 |  | DEC_A_Plug_Strip |  |  | bit | 22/4
BEAMSPLITTER T |  | Beam splitter Temperature | C | 15 |  | Hatch_Position |  |  | bit | 23/1
FRONT T |  | Front of Instrument Body Temperature | C | 16 |  | 28V_Solar_Seeker_Pwr |  |  | bit | 23/3
BRUCKER OPTIC RH |  | Relative Humidity inside Instrument | % | 17 |  | UTC_offset |  |  | hh | 25
E RADIANCE |  | East Radiance | volts | 18 |  | DOY |  | Day of Year | DDD | 26
W RADIANCE |  | West Radiance | volts | 19 |  | DayMin |  |  |  | 27
WIND DIR |  | Wind Direction | volts | 20 |  | DayFrac |  |  |  | 28
LASER T |  | Laser Temperature | C | 21
OUTSIDE T |  | Outside Temperature | C | 22
OUTSIDE RH |  | Outside Relative Humidity | % | 23
LASER PS T |  | Laser Power Supply Temperature | C | 24 |  |  | This the key to the new yearly house log file for mlo
WIND SPEED |  | Wind speed | volts | 25
HATCH |  | Hatch Position | volts | 26 |  |  | Label | Description | Units | Column | Missing Value
[7 empty] | Date | Year month day | YYYYMMDD | 1 | -
Format C | [6 empty] | Time | Hour minute second | HH:MM:SS | 2 | -
Original Label | New Label | Description | Units | Original Data Column | Notes |  | LN2_Dewar_P_volt | Liquid N2 Dewar Pressure | volts | 3 | -9999
Time |  | hour minute seconds | hh:mm:ss | 1 | 1) Almost identical to format B with exclusion of MCT Detector Temp Switch (Col4) and the 26th column is MCT Detector Temp Voltag rather than Hatch Position 2) Wind direction changes from voltage to deg within this time period!! 3) Space delimited 4) 2 extra columns at end of data |  | LN2_Dewar_P_psi | Liquid N2 Dewar Pressure | PSI | 4 | -9999
LN2 DEWAR Pressure |  | Liquid N2 Dewar Pressure | volts/PSI | 3 |  |  | Optic_Bench_Baseplate_T | Optical Bench Baseplate Temperature | C | 5 | -9999
INSB BODY TEMP |  | InSb Detector Temperature | C | 13 |  |  | Beamsplitter_T | Beamsplitter Temperature | C | 6 | -9999
MCT BODY TEMP |  | MCT Detector Temperature | C | 14 |  |  | Front_T | Instrument Front Temperature | C | 7 | -9999
BEAMSPLITTER T |  | Beam splitter Temperature | C | 15 |  |  | InSb_T | InSb Detector Temperature | C | 8 | -9999
FRONT T |  | Front of Instrument Body Temperature | C | 16 |  |  | MCT_T | MCT Detector Temperature | C | 9 | -9999
BRUCKER OPTIC RH |  | Relative Humidity inside Instrument | % | 17 |  |  | Laser_T | Laser Temperature | C | 10 | -9999
E RADIANCE |  | East Radiance | volts | 18 |  |  | Outside_T | Outside Temperature | C | 11 | -9999
W RADIANCE |  | West Radiance | volts | 19 |  |  | Brucker_Optical_RH | Instrument Relative Humidity | % | 12 | -9999
WIND DIR |  | Wind Direction | volts | 20 |  |  | Outside_RH | Outside Relative Humidity | % | 13 | -9999
LASER T |  | Laser Temperature | C | 21 |  |  | Wind_Speed_volts | Wind Speed | volts | 14 | -9999
OUTSIDE T |  | Outside Temperature | C | 22 |  |  | Wind_Speed_MPH | Wind Speed | MPH | 15 | -9999
OUTSIDE RH |  | Outside Relative Humidity | % | 23 |  |  | WindDir_volt | Wind Direction Volts | volts | 16 | -9999
LASER PS T |  | Laser Power Supply Temperature | C | 24 |  |  | WindDir_E_of_N | Wind Direction East of North | Deg | 17 | -9999
WIND SPEED |  | Wind speed | volts | 25 |  |  | Mid_IR_Cooler |  | bit | 18 | 9
MCT Dewar T. |  | MCT Detector Temp Voltage | volts | 26 |  |  | LN2_Fill |  | bit | 19 | 9
[7 empty] | Hatch_Relay |  | bit | 20 | 9
[7 empty] | Solar_Seeker_ON_Relay |  | bit | 21 | 9
[7 empty] | Solar_Seeker_OFF_Relay |  | bit | 22 | 9
[7 empty] | Dyn_Mirror_Pwr |  | bit | 23 | 9
[7 empty] | 28V_Solar_Seeker_Pwr |  | bit | 24 | 9
[7 empty] | DEC_A_Plug_Strip |  | bit | 25 | 9
[7 empty] | Hatch_Position_Bit |  | bit | 26 | 9
[7 empty] | Hatch_Position_volt |  | volt | 27 | -9999
[7 empty] | UTC_offset | UTC Hour offset | HH | 28 | -99
[7 empty] | DOY | Day of the Year | DDD | 29 | -999
[7 empty] | E_Radiance | East Radiance | volts | 30 | -9999
[7 empty] | W_Radiance | West Radiance | volts | 31 | -9999
3

## TAB
These are the file names, formats, and date range for the mlo house log files
Date Range | Format | File name
20010628 -> current | A | house.log
Although there exists house data prior to 20010628, it is difficult to determine the time of these observations
Format Notes
It is difficult to determine the actual time of observations in the house.log files prior to 20010628, therefore, data is collected >= 20010628
This the key to the new yearly house log file for TAB (after 2015)
Label | Description | Units | Column | Missing Value
Date | Year month day | YYYYMMDD | 1 | -
Time | Hour minute second | HH:MM:SS | 2 | -
FXSOL | Extern_Solar_Nominal | volts | 3
NXSOL | Extern_Solar_Flip | volts | 4
ELMOT | Temp_Elevation_Motor | DegC | 5
UPSLT | Temp_Upper_Seal | DegC | 6
LOSLT | Temp_Lower_Seal | DegC | 7
ACTUT | Temp_Lin_Actuator | DegC | 8
WDIR | Room Box Temperature | DegC | 9
WSPD | Atm_Wind_Dir_from_S | DegC | 10
APRS | Atm_Wind_Speed | Deg.W | 11
OTEMP | Atm_Temperature | DegC | 12
OTRH | Atm_Rel_Humidity | % | 13
LQN2P | LN2_Dewar_Pressure | m s^-1 | 14
LQDN2 | LN2_Fill_Switch | PSI | 15
HOPNC | Hatch_Open_Command |  | 16
HCLSC | Hatch_Close_Command |  | 17
SOPNC | LN2 Dewar Pressure |  | 18
SCLSC | Bruker LasA Rectified |  | 19
SCLOS | Shutter_Open_Command |  | 20
HCLOS | Hatch_Close_Limit_Sw |  | 21
HOPENutcoff | Hatch_Open_Limit_Sw |  | 22
doy | day of year |  | 23
daymin |  |  | 24
dayfrac | fractional day |  | 25
szenith | zenith angle |  | 26
sazimuth | azimuth angle |  | 27